## Instructions
KAPA Accessory Calculator
KAPA Single- & Dual-Indexed Adapter Kits for Illumina™ platforms and KAPA Pure Beads
KAPA Single- & Dual-Indexed Adapter Kits contain high-quality, ready-to-use adapters for Illumina library construction. Each adapter includes a single, 6-nt index (Single-Indexed) or 8nt index (Dual-Indexed) for multiplexed sequencing applications. KAPA Adapters are compatible with KAPA library preparation kits for DNA and RNA sequencing applications.
KAPA Single-Indexed Adapters are available in two concentrations, namely 30 µM and 1.5 µM and KAPA Dual-Indexed Adapters are availabe at 15 µM in 96-well plate format. Based on your library construction kit and workflow, DNA or RNA input, as well as fragment (insert) length and desired adapter:insert molar ratio (for DNA applications only), this calculator is designed to return the following:
- The most appropriate Adapter Stock Concentration for your application
- The factor by which Adapter stocks should be diluted
- The number of libraries that can be prepared from the kit concentration and configuration (12, 24 or 96 adapters) you have selected
This calculator is also designed to determine the amount of KAPA Pure Beads required, base on your specific workflow
Guidelines for how to use Calculator
Data Entry Type | Manual
Background | Used to show working area | Background
Data Entry Fields | Data entry fields are indicated with green fill: | Data Entry Field
Formulae | Cells which contain results based on green cells are indicated with orange fill: | Data Output
Out of Spec | Out of specification data are flagged using conditional formatting with red fill: | Out of Spec
For Research Use Only. Not for use in diagnostic procedures.

## DNA Library Prep
Name of user
Bead Calculations for KAPA DNA Library Construction
Important Notes:
*Beads should be equilibrated to room temperature and mixed thoroughly before use.
*Beads and DNA should be fully mixed and homogenous
| KAPA HyperPlus Kit |  | KAPA Hyper Prep Kit |  | KAPA HTP/LTP Library Preparation Kit
1. Number of samples (enter value): | 80 |  | 80 |  | 80
2. Volume sheared in (enter value): |  |  | 130 |  | 130
3. Are you performing a bead cleanup after shearing? |  |  | Yes |  | No
If Yes, what X bead cleanup? (enter value) |  |  | 3 |  | 3
4. At what point is Size Selection being performed? | Amplification |  | Amplification |  | Amplification
Size Selection cut 1 (enter value): | 0.6 |  | 0.7 |  | 0.7
Size Selection cut 2 (enter value): | 0.8 |  | 0.9 |  | 0.9
5. Are you performing Amplification (enter Yes or No)? | Yes |  | Yes |  | Yes
| Beads per sample (µL) | Total Volume (µL) | Beads per sample (µL) | Total Volume (µL) | Beads per sample (µL) | Total Volume (µL)
Core Library Construction | 88 | 7040 | 478 | 38240 | 120 | 9600
Size selection | 40 | 3200 | 45 | 3600 | 45 | 3600
Amplification Cleanup | 50 | 4000 | 50 | 4000 | 50 | 4000
Total Beads Required (10% excess) mL | 15.664 |  | 50.424 |  | 18.92
Adapter Calculations for KAPA DNA Library Construction
Important Notes:
*Adapters should only be diluted in provided Dilution Buffer
*Do not store at concentrations below 1.5 µM
| KAPA Hyper Prep & HyperPlus Kit |  |  |  | KAPA HTP/LTP Library Preparation Kit
| Input (ng) | Adapter Stock Concentration (µM) |  | Ratio Adapter:Template | Fragment Size (bp) | 175 | 350 | 500
| 1000 | 15 |  | 10:1 | Input (ng) | Adapter (µM) | Adapter (µM) | Adapter (µM)
| 500 | 15 |  | 20:1 | 3000-5000 | 60 | 30 | 21
| 250 | 15 |  | 40:1 | 1000 | 20 | 10 | 7
| 100 | 15 |  | 100:1 | 500 | 10 | 5 | 3.5
| 50 | 15 |  | 200:1 | 100 | 2 | 1 | 0.7
| 25 | 7.5 |  | 200:1 | 10 | 0.2 | 0.1 | 0.07
| 10 | 3 |  | 200:1 | Enter the recommended Adapter Concentration from the above table
| 5 | 1.5 |  | 200:1
| 2.5 | 0.75 |  | 200:1
| 1 | 0.3 |  | 200:1
KAPA Single-Indexed Adapter Calculator (DNA)
| KAPA HyperPlus Kit |  | KAPA Hyper Prep Kit |  | KAPA HTP/LTP Library Preparation Kit
Input into library construction (ng) | 100 |  | 100 |  | 100
Mode size of fragmented DNA (bp) | 350 |  | 350 |  | 350
Moles of insert DNA | 0.4329 | pmol | 0.4329 | pmol | 0.4329 | pmol
Adapter:insert molar ratio | 40 |  | 40 |  | 10
Moles of adapter needed per library | 17.316 | pmol | 17.316 | pmol | 4.329 | pmol
Volume of Adapter to use per ligation reaction (Default = 5 µl. May be increased up to 10 µl if needed) | 5 |  | 5 |  | 5
Adapter Stock Concentration to use (µM) | 3.4 |  | 3.4 |  | 0.8658
KAPA Single-Indexed Adapter Concentration to use (µM) | 30 |  | 30 |  | 1.5
Dilution factor (X) | 8.9 |  | 8.9 |  | 1.8
Number of libraries per index | 71 |  | 71 |  | 14
Total number of libraries with Set A + B (24 adapters) | 1704 |  | 1704 |  | 336
Total number of libraries with Set A or B (12 adapters) | 852 |  | 852 |  | 168
To confirm actual adapter:insert molar ratio:
Enter actual Adapter Stock Concentration used | 5 |  | 5 |  | 1
Volume of Adapter used per ligation reaction (µL) | 5 |  | 5 |  | 5
Moles of adapter used | 25 |  | 25 |  | 5
Actual adapter:insert molar ratio | 57.75 |  | 57.75 |  | 11.55
KAPA Dual-Indexed Adapter Calculator (DNA)
| KAPA HyperPlus Kit |  | KAPA Hyper Prep Kit |  | KAPA HTP/LTP Library Preparation Kit
Input into library construction (ng) | 100 |  | 100 |  | 100
Mode size of fragmented DNA (bp) | 450 |  | 350 |  | 350
Moles of insert DNA | 0.3367 | pmol | 0.4329 | pmol | 0.4329 | pmol
Adapter:insert molar ratio | 40 |  | 40 |  | 10
Moles of adapter needed per library | 13.468 | pmol | 17.316 | pmol | 4.329 | pmol
Volume of Adapter to use per ligation reaction (Default = 5 µl. May be increased up to 10 µl if needed) | 5 |  | 5 |  | 5
Adapter Stock Concentration to use (µM) | 2.6 |  | 3.4 |  | 0.8658
KAPA Dual-Indexed Adapter Concentration (µM) | 15 |  | 15 |  | 15
Dilution factor (X) | 5.8 |  | 4.5 |  | 17.4
Number of libraries per index | 23 |  | 18 |  | 69
Total number of libraries with Adapter Plate (96 adapters) | 2208 |  | 1728 |  | 6624
To confirm actual adapter:insert molar ratio:
Enter actual Adapter Stock Concentration used (M) | 15 |  | 15 |  | 15
Volume of Adapter used per ligation reaction (µL) | 5 |  | 5 |  | 5
Moles of adapter used | 75 |  | 75 |  | 75
Actual adapter:insert molar ratio | 222.75 |  | 173.25 |  | 173.25
Note on D9: This value is necessary to determine the number of beads require if performing a post shearing cleanup. Typical covaris values are 50 or 130 µL
Note on F9: This value is necessary to determine the number of beads require if performing a post shearing cleanup. Typical covaris values are 50 or 130 µL
Note on D10: A post shearing cleanup may be required if the shearing was performed in a buffer containing EDTA, which will inhibit the downstream reactions, or if the volume is too large and needs to be concentrated.
Note on F10: A post shearing cleanup may be required if the shearing was performed in a buffer containing EDTA, which will inhibit the downstream reactions, or if the volume is too large and needs to be concentrated.
Note on D11: A 3X volumetric ratio safely retains all material and is our recommendation for shearing or genomic cleanup
Note on F11: A 3X volumetric ratio safely retains all material and is our recommendation for shearing or genomic cleanup
Note on B12: Size Selection can be performed after shearing, ligation, or amplification. In general we recommend a post-ligation size selection. Size Selection is not necessarily required. A size selected product will have a tighter size range at the cost of total yield.
Note on D12: Size Selection can be performed after shearing, ligation, or amplification. In general we recommend a post-ligation size selection. Size Selection is not necessarily required. A size selected product will have a tighter size range at the cost of total yield
Note on F12: Size Selection can be performed after shearing, ligation, or amplification. In general we recommend a post-ligation size selection. Size Selection is not necessarily required. A size selected product will have a tighter size range at the cost of total yield
Note on B13: This value is the first volumetric bead to sample ratio. At this step, material larger than desired upper threshold is bound and removed. Approximate ratio sizes: 0.4 < 750 bp 0.5 < 650 bp 0.6 < 550 bp 0.7 < 450 bp 0.8 < 350 bp 0.9 < 250 bp
Note on D13: This value is the first volumetric bead to sample ratio. At this step, material larger than desired upper threshold is bound and removed. Approximate ratio sizes: 0.4 < 750 bp 0.5 < 650 bp 0.6 < 550 bp 0.7 < 450 bp 0.8 < 350 bp 0.9 < 250 bp
Note on F13: This value is the first volumetric bead to sample ratio. At this step, material larger than desired upper threshold is bound and removed. Approximate ratio sizes: 0.4 < 750 bp 0.5 < 650 bp 0.6 < 550 bp 0.7 < 450 bp 0.8 < 350 bp 0.9 < 250 bp
Note on B14: This value is the second and final volumetric ratio of PEG/bead to sample. Remaining material, smaller than the first selection, but greater than lower desired size threshold is bound and kept for future processing. The spacing between the two ratios should always be at least 0.2 to avoid sample loss. Differences greater than 0.2 can result in broad distributions. Approximate size ratios: 0.6 > 550 bp 0.7 > 450 bp 0.8 > 350 bp 0.9 > 250 bp 1.0 > 150 bp
Note on D14: This value is the second and final volumetric ratio of PEG/bead to sample. Remaining material, smaller than the first selection, but greater than lower desired size threshold is bound and kept for future processing. The spacing between the two ratios should always be at least 0.2 to avoid sample loss. Differences greater than 0.2 can result in broad distributions. Approximate size ratios: 0.6 > 550 bp 0.7 > 450 bp 0.8 > 350 bp 0.9 > 250 bp 1.0 > 150 bp
Note on F14: This value is the second and final volumetric ratio of PEG/bead to sample. Remaining material, smaller than the first selection, but greater than lower desired size threshold is bound and kept for future processing. The spacing between the two ratios should always be at least 0.2 to avoid sample loss. Differences greater than 0.2 can result in broad distributions. Approximate size ratios: 0.6 > 550 bp 0.7 > 450 bp 0.8 > 350 bp 0.9 > 250 bp 1.0 > 150 bp
Note on B15: Amplification may be required depending on workflow. PCR-free workflows generally have a hgher input (200+ ng)
Note on D15: Amplification may be required depending on workflow. PCR-free workflows generally have a hgher input (200+ ng)
Note on F15: Amplification may be required depending on workflow. PCR-free workflows generally have a hgher input (500+ ng)
Note on B28: Input amount affects the ratio of adapter to insert. At higher amounts, at 15 µM stock represents a good compormise of efficiency vs price. At lower amounts, a 200:1 ratio generally optimizes yield
Note on E28: With both kits, low-input and challenging samples may benefit from higher adapter:insert molar ratios. Refer to Important Parameters in your TDS for details.
Note on B43: The size of the insert affects the molarity of the sample and the true ratio of adapter:insert. A larger mean fragment length results in less "ends" per amount of material and therefore less adapter required to maintain and optimal ratio.
Note on D43: The size of the insert affects the molarity of the sample and the true ratio of adapter:insert. A larger mean fragment length results in less "ends" per amount of material and therefore less adapter required to maintain and optimal ratio.
Note on F43: Older kits did not account for ratios of adapter:insert and are more inclined to form adapter dimer than the Hyper kits. Use the table above to achieve an estimate of adapter needs.
Note on B45: Recommended ratios are in the above table. A higher ratio can result in increased yield especially for low input or challenging samples but should be attempted alongside the standard recommendation.
Note on D45: Recommended ratios are in the above table. A higher ratio can result in increased yield especially for low input or challenging samples but should be attempted alongside the standard recommendation.
Note on F45: Recommended concentrations are in the above table. A higher ratio can result in increased yield especially for low input or challenging samples but should be attempted alongside the standard recommendation. Adapter:insert ratio of 10 is recommended for most applications
Note on B47: The default value is 5 µL into the ligation reaction. It is possible to increase this volume to 10 µL which effectively doubles the ratio and can be useful for high inputs or low adapter stocks.
Note on D47: The default value is 5 µL into the ligation reaction. It is possible to increase this volume to 10 µL which effectively doubles the ratio and can be useful for high inputs or low adapter stocks.
Note on F47: The default value is 5 µL into the ligation reaction. It is possible to increase this volume to 10 µL which effectively doubles the ratio and can be useful for high inputs or low adapter stocks.
Note on B48: This value represents what the customer will be using into their workflow. It should match the expected value in the above table
Note on D48: This value represents what the customer will be using into their workflow. It should match the expected value in the above table low adapter stocks.
Note on F48: This value represents what the customer will be using into their workflow. It should match the expected value in the above table
Note on B49: Kapa Adapters come in 30 µM and 1.5 µM concentrations. Overall use should be considered. Adapters can always be diluted down but there is a limit on samples able to processed with lower concentration adapters
Note on D49: Kapa Adapters come in 30 µM and 1.5 µM concentrations. Overall use should be considered. Adapters can always be diluted down but there is a limit on samples able to processed with lower concentration adapters
Note on F49: Kapa Adapters come in 30 µM and 1.5 µM concentrations. Overall use should be considered. Adapters can always be diluted down but there is a limit on samples able to processed with lower concentration adapters
Note on B50: What dilution factor the adapters should undergo
Note on D50: What dilution factor the adapters should undergo
Note on F50: What dilution factor the adapters should undergo
Note on B51: How many libraries can be made per index based on the presumed input and volumes of adapter stocks. Assumes the customer dilutes accordingly and does not waste stock.
Note on D51: How many libraries can be made per index based on the presumed input and volumes of adapter stocks. Assumes the customer dilutes accordingly and does not waste stock.
Note on F51: How many libraries can be made per index based on the presumed input and volumes of adapter stocks. Assumes the customer dilutes accordingly and does not waste stock.
Note on B52: Total number of lbraries able to be made from both sets of Kapa Adapters at the concentration indicated
Note on D52: Total number of lbraries able to be made from both sets of Kapa Adapters at the concentration indicated
Note on F52: Total number of lbraries able to be made from both sets of Kapa Adapters at the concentration indicated
Note on B53: Total number of lbraries able to be made from one set of Kapa Adapters at the concentration indicated
Note on D53: Total number of lbraries able to be made from one set of Kapa Adapters at the concentration indicated
Note on F53: Total number of lbraries able to be made from one set of Kapa Adapters at the concentration indicated
Note on B62: Input into Library Preperation in ng
Note on D62: Input into Library Preperation in ng
Note on F62: Input into Library Preperation in ng
Note on B63: The size of the insert affects the molarity of the sample and the true ratio of adapter:insert. A larger mean fragment length results in less "ends" per amount of material and therefore less adapter required to maintain and optimal ratio.
Note on D63: The size of the insert affects the molarity of the sample and the true ratio of adapter:insert. A larger mean fragment length results in less "ends" per amount of material and therefore less adapter required to maintain and optimal ratio.
Note on F63: Older kits did not account for ratios of adapter:insert and are more inclined to form adapter dimer than the Hyper kits. Use the table above to achieve an estimate of adapter needs.
Note on B65: Recommended ratios are in the above table. A higher ratio can result in increased yield especially for low input or challenging samples but should be attempted alongside the standard recommendation.
Note on D65: Recommended ratios are in the above table. A higher ratio can result in increased yield especially for low input or challenging samples but should be attempted alongside the standard recommendation.
Note on F65: Recommended ratios are in the above table. A higher ratio can result in increased yield especially for low input or challenging samples but should be attempted alongside the standard recommendation.
Note on B67: The default value is 5 µL into the ligation reaction. It is possible to increase this volume to 10 µL which effectively doubles the ratio and can be useful for high inputs or low adapter stocks.
Note on D67: The default value is 5 µL into the ligation reaction. It is possible to increase this volume to 10 µL which effectively doubles the ratio and can be useful for high inputs or low adapter stocks.
Note on F67: The default value is 5 µL into the ligation reaction. It is possible to increase this volume to 10 µL which effectively doubles the ratio and can be useful for high inputs or low adapter stocks.
Note on B68: This value represents what the customer will be using into their workflow. It should match the expected value in the above table
Note on D68: This value represents what the customer will be using into their workflow. It should match the expected value in the above table low adapter stocks.
Note on F68: This value represents what the customer will be using into their workflow. It should match the expected value in the above table
Note on B69: Kapa Adapters come in 30 µM and 1.5 µM concentrations. Overall use should be considered. Adapters can always be diluted down but there is a limit on samples able to processed with lower concentration adapters
Note on D69: Kapa Adapters come in 30 µM and 1.5 µM concentrations. Overall use should be considered. Adapters can always be diluted down but there is a limit on samples able to processed with lower concentration adapters
Note on F69: Kapa Adapters come in 30 µM and 1.5 µM concentrations. Overall use should be considered. Adapters can always be diluted down but there is a limit on samples able to processed with lower concentration adapters
Note on B70: What dilution factor the adapters should undergo
Note on D70: What dilution factor the adapters should undergo
Note on F70: What dilution factor the adapters should undergo
Note on B71: How many libraries can be made per index based on the presumed input and volumes of adapter stocks. Assumes the customer dilutes accordingly and does not waste stock.
Note on D71: How many libraries can be made per index based on the presumed input and volumes of adapter stocks. Assumes the customer dilutes accordingly and does not waste stock.
Note on F71: How many libraries can be made per index based on the presumed input and volumes of adapter stocks. Assumes the customer dilutes accordingly and does not waste stock.
Note on B72: Total number of lbraries able to be made from both sets of Kapa Adapters at the concentration indicated
Note on D72: Total number of lbraries able to be made from both sets of Kapa Adapters at the concentration indicated
Note on F72: Total number of lbraries able to be made from both sets of Kapa Adapters at the concentration indicated

## RNA Library Prep
Name of user
Bead Calculations for KAPA RNA Library Construction
Important Notes:
*Beads should be equilibrated to room temperature and mixed thoroughly before use.
*Beads and RNA/cDNA should be fully mixed and homogenous
| KAPA Stranded RNA Library Preparation Kit with RiboErase |  | KAPA Stranded mRNA Library Preparation Kit |  | KAPA Stranded Total RNA Library Preparation Kit |  | KAPA mRNA HyperPrep Kit |  | KAPA RiboErase HyperPrep Kit |  | KAPA RNA HyperPrep Kit
Number of samples (enter value): | 35 |  | 35 |  | 35 |  | 35 |  | 35 |  | 35
| Beads per sample | Total | Beads per sample | Total | Beads per sample | Total | Beads per sample | Total | Beads per sample | Total | Beads per sample | Total
Core Library Construction | 207 | sd | 108 | 3780 | 108 | 3780 | 70 | 2450 | 169 | 5915 | 70 | 2450
Amplification Cleanup | 50 | 1750 | 50 | 1750 | 50 | 1750 | 50 | 1750 | 50 | 1750 | 50 | 1750
Total Beads Required (10% excess) mL | 1.925 |  | 6.083 |  | 6.083 |  | 4.62 |  | 8.4315 |  | 4.62
KAPA Single-Indexed Adapter Calculator (RNA)
Important Notes:
*Adapters should only be diluted in provided Dilution Buffer
*Do not store at concentrations below 1.5 µM
| KAPA Stranded RNA Library Preparation Kit with RiboErase |  | KAPA Stranded mRNA Library Preparation Kit |  | KAPA Stranded Total RNA Library Preparation Kit |  | KAPA mRNA HyperPrep Kit |  | KAPA RiboErase HyperPrep Kit |  | KAPA RNA HyperPrep Kit
Input (ng) | 1000 |  | 100 |  | 25 |  | 50 |  | 25 |  | 1
[9 empty] | High Quality |  | High Quality
Adapter Stock Concentration to use | 280 |  | 140 |  | 350 |  | 1.5 |  | 1.5 |  | 1.5
Unit of concentration | nM | [5 empty] | µM
KAPA Single-Indexed Adapter Concentration to use (µM) | 1.5 |  | 30 |  | 30 |  | 1.5 |  | 30 |  | 30
Dilution factor (X) | 5.35 |  | 214.28 |  | 85.71 |  | 1 |  | 20 |  | 20
Number of libraries per index | 42 |  | 1714 |  | 685 |  | 8 |  | 160 |  | 160
Total number of libraries with Set A + B (24 adapters) | 1008 |  | 41136 |  | 16440 |  | 192 |  | 3840 |  | 3840
Total number of libraries with Set A or B (12 adapters) | 504 |  | 20568 |  | 8220 |  | 96 |  | 1920 |  | 1920
KAPA Dual-Indexed Adapter Calculator (RNA)
| KAPA Stranded RNA-Seq Library Preparation Kit with RiboErase |  | KAPA Stranded mRNA-Seq Library Preparation Kit |  | KAPA Stranded RNA-Seq Library Preparation Kit |  | KAPA mRNA HyperPrep Kit |  | KAPA RNA HyperPrep Kit with RiboErase |  | KAPA RNA HyperPrep Kit
Input (ng) | 500 |  | 500 |  | 25 |  | 500 |  | 25 |  | 1
[9 empty] | High Quality |  | High Quality
Adapter Stock Concentration to use | 280 |  | 350 |  | 350 |  | 7 |  | Out of Range |  | 1.5
KAPA Dual-Indexed Adapter Concentration (µM) | 15 |  | 15 |  | 15 |  | 15 |  | 15 |  | 15
Dilution factor (X) | 53.57 |  | 42.85 |  | 42.85 |  | 2.14 |  | #VALUE! |  | 10
Number of libraries per index | 214 |  | 171 |  | 171 |  | 8 |  | #VALUE! |  | 40
Total number of libraries with Adapter Plate (96 adapters) | 20544 |  | 16416 |  | 16416 |  | 768 |  | #VALUE! |  | 3840
High Quality
Low Quality
Note on B8: Number of samples to be processed
Note on D8: Number of samples
Note on B10: Beads required for upfront enrichment/depletion and library preperation
Note on B11: Beads required to cleanup amplified product
Note on B19: Input in ng into the RNA workflow. This will be enriched (mRNA) or depleted (RiboErase) or should already have gone through a Ribosomal removal for Total RNA. This value affects the concnetration of adapter to use.
Note on D19: Input in ng into the RNA workflow. This will be enriched (mRNA) or depleted (RiboErase) or should already have gone through a Ribosomal removal for Total RNA. This value affects the concnetration of adapter to use.
Note on F19: Input in ng into the RNA workflow. This will be enriched (mRNA) or depleted (RiboErase) or should already have gone through a Ribosomal removal for Total RNA. This value affects the concnetration of adapter to use.
Note on H19: Input in ng into the RNA workflow. This will be enriched (mRNA) or depleted (RiboErase) or should already have gone through a Ribosomal removal for Total RNA. This value affects the concnetration of adapter to use.
Note on L19: Input in ng into the RNA workflow. This will be enriched (mRNA) or depleted (RiboErase) or should already have gone through a Ribosomal removal for Total RNA. This value affects the concnetration of adapter to use.
Note on J20: Higher Quaility RNA may require a higher concentration of adapter. If unknown select High Quality for a "safe" estimate
Note on L20: Higher Quaility RNA may require a higher concentration of adapter. If unknown select High Quality for a "safe" estimate
Note on B21: Adapter stock concentration to be use with the workflow. This depends of input asnd sometimes quality. 5 µL of this stock will be used into the ligation reaction
Note on B23: Kapa Adapter concnetration to be used. 1.5 µL is genertally used for old RNA-Seq workflows whereas some RNA Hyper workflows will require the 30 µM versions
Note on D23: Kapa Adapter concnetration to be used. 1.5 µL is genertally used for old RNA-Seq workflows whereas some RNA Hyper workflows will require the 30 µM versions
Note on F23: Kapa Adapter concnetration to be used. 1.5 µL is genertally used for old RNA-Seq workflows whereas some RNA Hyper workflows will require the 30 µM versions
Note on H23: Kapa Adapter concnetration to be used. 1.5 µL is genertally used for old RNA-Seq workflows whereas some RNA Hyper workflows will require the 30 µM versions
Note on J23: Kapa Adapter concnetration to be used. 1.5 µL is genertally used for old RNA-Seq workflows whereas some RNA Hyper workflows will require the 30 µM versions
Note on L23: Kapa Adapter concnetration to be used. 1.5 µL is genertally used for old RNA-Seq workflows whereas some RNA Hyper workflows will require the 30 µM versions
Note on B24: How much the KAPA adapter will be required to be diluted when performing Library Preperation
Note on D24: How much the KAPA adapter will be required to be diluted when performing Library Preperation
Note on F24: How much the KAPA adapter will be required to be diluted when performing Library Preperation
Note on H24: How much the KAPA adapter will be required to be diluted when performing Library Preperation
Note on J24: How much the KAPA adapter will be required to be diluted when performing Library Preperation
Note on L24: How much the KAPA adapter will be required to be diluted when performing Library Preperation
Note on B25: How many libraries can be made per index based on the presumed input and volumes of adapter stocks. Assumes the customer dilutes accordingly and does not waste stock.
Note on D25: How many libraries can be made per index based on the presumed input and volumes of adapter stocks. Assumes the customer dilutes accordingly and does not waste stock.
Note on F25: How many libraries can be made per index based on the presumed input and volumes of adapter stocks. Assumes the customer dilutes accordingly and does not waste stock.
Note on H25: How many libraries can be made per index based on the presumed input and volumes of adapter stocks. Assumes the customer dilutes accordingly and does not waste stock.
Note on J25: How many libraries can be made per index based on the presumed input and volumes of adapter stocks. Assumes the customer dilutes accordingly and does not waste stock.
Note on L25: How many libraries can be made per index based on the presumed input and volumes of adapter stocks. Assumes the customer dilutes accordingly and does not waste stock.
Note on B26: Total number of lbraries able to be made from both sets of Kapa Adapters at the concntration indicated
Note on D26: Total number of lbraries able to be made from both sets of Kapa Adapters at the concntration indicated
Note on F26: Total number of lbraries able to be made from both sets of Kapa Adapters at the concntration indicated
Note on H26: Total number of lbraries able to be made from both sets of Kapa Adapters at the concntration indicated
Note on J26: Total number of lbraries able to be made from both sets of Kapa Adapters at the concntration indicated
Note on L26: Total number of lbraries able to be made from both sets of Kapa Adapters at the concntration indicated
Note on B27: Total number of lbraries able to be made from one set of Kapa Adapters at the concentration indicated
Note on D27: Total number of lbraries able to be made from one set of Kapa Adapters at the concentration indicated
Note on F27: Total number of lbraries able to be made from one set of Kapa Adapters at the concentration indicated
Note on J27: Total number of lbraries able to be made from one set of Kapa Adapters at the concentration indicated
Note on L27: Total number of lbraries able to be made from one set of Kapa Adapters at the concentration indicated
Note on B31: Input in ng into the RNA workflow. This will be enriched (mRNA) or depleted (RiboErase) or should already have gone through a Ribosomal removal for Total RNA. This value affects the concnetration of adapter to use.
Note on D31: Input in ng into the RNA workflow. This will be enriched (mRNA) or depleted (RiboErase) or should already have gone through a Ribosomal removal for Total RNA. This value affects the concnetration of adapter to use.
Note on F31: Input in ng into the RNA workflow. This will be enriched (mRNA) or depleted (RiboErase) or should already have gone through a Ribosomal removal for Total RNA. This value affects the concnetration of adapter to use.
Note on H31: Input in ng into the RNA workflow. This will be enriched (mRNA) or depleted (RiboErase) or should already have gone through a Ribosomal removal for Total RNA. This value affects the concnetration of adapter to use.
Note on L31: Input in ng into the RNA workflow. This will be enriched (mRNA) or depleted (RiboErase) or should already have gone through a Ribosomal removal for Total RNA. This value affects the concnetration of adapter to use.
Note on J32: Higher Quaility RNA may require a higher concentration of adapter. If unknown select High Quality for a "safe" estimate
Note on L32: Higher Quaility RNA may require a higher concentration of adapter. If unknown select High Quality for a "safe" estimate
Note on B33: Adapter stock concentration to be use with the workflow. This depends of input asnd sometimes quality. 5 µL of this stock will be used into the ligation reaction
Note on B34: Kapa Adapter concnetration to be used. 1.5 µL is genertally used for old RNA-Seq workflows whereas some RNA Hyper workflows will require the 30 µM versions
Note on D34: Kapa Adapter concnetration to be used. 1.5 µL is genertally used for old RNA-Seq workflows whereas some RNA Hyper workflows will require the 30 µM versions
Note on F34: Kapa Adapter concnetration to be used. 1.5 µL is genertally used for old RNA-Seq workflows whereas some RNA Hyper workflows will require the 30 µM versions
Note on H34: Kapa Adapter concnetration to be used. 1.5 µL is genertally used for old RNA-Seq workflows whereas some RNA Hyper workflows will require the 30 µM versions
Note on J34: Kapa Adapter concnetration to be used. 1.5 µL is genertally used for old RNA-Seq workflows whereas some RNA Hyper workflows will require the 30 µM versions
Note on L34: Kapa Adapter concnetration to be used. 1.5 µL is genertally used for old RNA-Seq workflows whereas some RNA Hyper workflows will require the 30 µM versions
Note on B35: How much the KAPA adapter will be required to be diluted when performing Library Preperation
Note on D35: How much the KAPA adapter will be required to be diluted when performing Library Preperation
Note on F35: How much the KAPA adapter will be required to be diluted when performing Library Preperation
Note on H35: How much the KAPA adapter will be required to be diluted when performing Library Preperation
Note on J35: How much the KAPA adapter will be required to be diluted when performing Library Preperation
Note on L35: How much the KAPA adapter will be required to be diluted when performing Library Preperation
Note on B36: How many libraries can be made per index based on the presumed input and volumes of adapter stocks. Assumes the customer dilutes accordingly and does not waste stock.
Note on D36: How many libraries can be made per index based on the presumed input and volumes of adapter stocks. Assumes the customer dilutes accordingly and does not waste stock.
Note on F36: How many libraries can be made per index based on the presumed input and volumes of adapter stocks. Assumes the customer dilutes accordingly and does not waste stock.
Note on H36: How many libraries can be made per index based on the presumed input and volumes of adapter stocks. Assumes the customer dilutes accordingly and does not waste stock.
Note on J36: How many libraries can be made per index based on the presumed input and volumes of adapter stocks. Assumes the customer dilutes accordingly and does not waste stock.
Note on L36: How many libraries can be made per index based on the presumed input and volumes of adapter stocks. Assumes the customer dilutes accordingly and does not waste stock.
Note on B37: Total number of lbraries able to be made from both sets of Kapa Adapters at the concntration indicated
Note on D37: Total number of lbraries able to be made from both sets of Kapa Adapters at the concntration indicated
Note on F37: Total number of lbraries able to be made from both sets of Kapa Adapters at the concntration indicated
Note on H37: Total number of lbraries able to be made from both sets of Kapa Adapters at the concntration indicated
Note on J37: Total number of lbraries able to be made from both sets of Kapa Adapters at the concntration indicated
Note on L37: Total number of lbraries able to be made from both sets of Kapa Adapters at the concntration indicated

## Capture
Name of user
Bead Calculations for KAPA DNA Library Construction: SeqCap EZ Capture Workflows
Important Notes:
*Beads should be equilibrated to room temperature and mixed thoroughly before use.
*Beads and DNA should be fully mixed and homogenous
* SeqCap EZ Capture workflow 5.1
| KAPA HyperPlus Kit + SeqCap EZ Capture |  | KAPA Hyper Prep Kit + SeqCap EZ Capture |  | SeqCap EZ HyperCap using KAPA HyperPlus Kit |  | SeqCap EZ HyperCap using KAPA HyperPrep Kit
1. Number of samples (enter value): | 65 |  | 65 |  | 65 |  | 65
2. Volume sheared in (enter value): |  |  | 130 |  |  |  | 130
3. Are you performing concentration after shearing? |  |  | No |  |  |  | Yes
If Yes, what X bead cleanup? (enter value) |  |  | 3 |  |  |  | 3
4. At what point is Size Selection being performed? | Amplification |  | Amplification |  | Ligation |  | Ligation
Size Selection cut 1 (enter value): | 0.7 |  | 0.7 |  | 0.7 |  | 0.7
Size Selection cut 2 (enter value): | 0.9 |  | 0.9 |  | 0.9 |  | 0.9
5. Are you performing pre-capture Amplification (Yes or No)? | Yes |  | Yes |  | Yes |  | Yes
6. Are you performing post-capture Amplification (Yes or No)? | Yes |  | Yes |  | Yes |  | Yes
| Beads per sample | Total | Beads per sample | Total | Beads per sample | Total | Beads per sample | Total
Core Library Construction | 88 | 5720 | 88 | 5720 | 88 | 5720 | 478 | 31070
Size selection | 45 | 2925 | 45 | 2925 | 45 | 2925 | 45 | 2925
Pre-Capture Amplification Cleanup | 50 | 3250 | 50 | 3250 | 50 | 3250 | 50 | 3250
Capture | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Post-Capture Amplification Cleanup | 180 | 11700 | 180 | 11700 | 50 | 3250 | 50 | 3250
Total Beads Required (10% excess) mL | 25.9545 |  | 13.0845 |  | 16.6595 |  | 44.5445
Adapter Calculations for KAPA DNA Library Construction: SeqCap EZ Capture Workflows
Important Notes:
*Adapters should only be diluted in provided Dilution Buffer
*Do not store at concnetrations below 1.5 µM
| KAPA HyperPlus Kit + SeqCap EZ Capture |  | KAPA Hyper Prep Kit + SeqCap EZ Capture |  | For HyperCap protocols the SeqCap Adapters are recommended
| Input (ng) | Adapter Stock Concentration (µM) |  | Ratio Adapter:Template | SeqCap Adapter Kit A - 07 141 530 001
| 1000 | 15 |  | 10:1 | SeqCap Adapter Kit B - 07 141 548 001
| 500 | 15 |  | 20:1
| 250 | 15 |  | 40:1
| 100 | 15 |  | 100:1
| 50 | 15 |  | 200:1
| 25 | 7.5 |  | 200:1
| 10 | 3 |  | 200:1
| 5 | 1.5 |  | 200:1
| 2.5 | 0.75 |  | 200:1
| 1 | 0.3 |  | 200:1
KAPA Single-Indexed Adapter Calculator (Capture)
Input into library construction | 500 |  | 1000
Mode size of fragmented DNA | 300 |  | 220
Moles of insert DNA | 2.5253 | pmol | 6.8871 | pmol
Adapter:insert molar ratio | 20 |  | 10
Moles of adapter needed per library | 50.5051 | pmol | 68.8705 | pmol
Volume of Adapter to use per ligation reaction | 5 |  | 5
Adapter Stock Concentration to use (µM) | 10.1 |  | 13.7
KAPA Single-Indexed Adapter Concentration to use (µM) | 30 |  | 30
Dilution factor | 3 |  | 2.2
Number of libraries per index | 4 |  | 5.4545
Total number of libraries with Set A + B (24 adapters) | 96 |  | 130.9091
Total number of libraries with Set A or B (12 adapters) | 48 |  | 65.4545
To confirm actual adapter:insert molar ratio:
Enter actual Adapter Stock Concentration used | 15 |  | 15
Volume of Adapter used per ligation reaction | 5 |  | 5
Moles of adapter used | 75 |  | 75
Actual adapter:insert molar ratio | 29.7 |  | 10.89
KAPA Dual-Indexed Adapter Calculator (Capture)
Input into library construction | 500 |  | 50
Mode size of fragmented DNA | 350 |  | 200
Moles of insert DNA | 2.1645 | pmol | 0.37879 | pmol
Adapter:insert molar ratio | 40 |  | 200
Moles of adapter needed per library | 86.5801 | pmol | 75.7576 | pmol
Volume of Adapter to use per ligation reaction | 5 |  | 5
Adapter Stock Concentration to use (µM) | 17.3 |  | 15.1
KAPA Dual-Indexed Adapter Concentration (µM) | 15 |  | 15
Dilution factor | 0.9 |  | 1
Number of libraries per index | 3 |  | 4
Total number of libraries with(96 adapters) | 288 |  | 384
To confirm actual adapter:insert molar ratio:
Enter actual Adapter Stock Concentration used | 15 |  | 15
Volume of Adapter used per ligation reaction | 5 |  | 5
Moles of adapter used | 75 |  | 75
Actual adapter:insert molar ratio | 34.65 |  | 198
Note on D10: This value is necessary to determine the number of beads require if performing a post shearing cleanup. Typical covaris values are 50 or 130 µL
Note on H10: This value is necessary to determine the number of beads require if performing a post shearing cleanup. Typical covaris values are 50 or 130 µL
Note on D11: A post shearing cleanup may be required if the shearing was performed in a buffer containing EDTA, which will inhibit the downstream reactions, or if the volume is too large and needs to be concentrated.
Note on H11: A post shearing cleanup may be required if the shearing was performed in a buffer containing EDTA, which will inhibit the downstream reactions, or if the volume is too large and needs to be concentrated.
Note on D12: A 3X volumetric ratio safely retains all material and is our recommendation for shearing or genomic cleanup
Note on H12: A 3X volumetric ratio safely retains all material and is our recommendation for shearing or genomic cleanup
Note on B13: Capture protocols recommend a size selection post-ligation Size Selection is suggested not necessarily required depending on input material size and quantity. Capture samples that have not undergone size selection tend to lead to higher off target rates
Note on D13: Capture protocols recommend a size selection post-ligation Size Selection is suggested not necessarily required depending on input material size and quantity. Capture samples that have not undergone size selection tend to lead to higher off target rates
Note on F13: Capture protocols recommend a size selection post-ligation Size Selection is suggested not necessarily required depending on input material size and quantity. Capture samples that have not undergone size selection tend to lead to higher off target rates
Note on H13: Capture protocols recommend a size selection post-ligation Size Selection is suggested not necessarily required depending on input material size and quantity. Capture samples that have not undergone size selection tend to lead to higher off target rates
Note on B14: This value is the first volumetric bead to sample ratio. At this step, material larger than desired upper threshold is bound and removed. Approximate ratio sizes: 0.4 < 750 bp 0.5 < 650 bp 0.6 < 550 bp 0.7 < 450 bp 0.8 < 350 bp 0.9 < 250 bp
Note on D14: This value is the first volumetric bead to sample ratio. At this step, material larger than desired upper threshold is bound and removed. Approximate ratio sizes: 0.4 < 750 bp 0.5 < 650 bp 0.6 < 550 bp 0.7 < 450 bp 0.8 < 350 bp 0.9 < 250 bp
Note on F14: This value is the first volumetric bead to sample ratio. At this step, material larger than desired upper threshold is bound and removed. Approximate ratio sizes: 0.4 < 750 bp 0.5 < 650 bp 0.6 < 550 bp 0.7 < 450 bp 0.8 < 350 bp 0.9 < 250 bp
Note on H14: This value is the first volumetric bead to sample ratio. At this step, material larger than desired upper threshold is bound and removed. Approximate ratio sizes: 0.4 < 750 bp 0.5 < 650 bp 0.6 < 550 bp 0.7 < 450 bp 0.8 < 350 bp 0.9 < 250 bp
Note on B15: This value is the second and final volumetric ratio of PEG/bead to sample. Remaining material, smaller than the first selection, but greater than lower desired size threshold is bound and kept for future processing. The spacing between the two ratios should always be at least 0.2 to avoid sample loss. Differences greater than 0.2 can result in broad distributions. Approximate size ratios: 0.6 > 550 bp 0.7 > 450 bp 0.8 > 350 bp 0.9 > 250 bp 1.0 > 150 bp
Note on D15: This value is the second and final volumetric ratio of PEG/bead to sample. Remaining material, smaller than the first selection, but greater than lower desired size threshold is bound and kept for future processing. The spacing between the two ratios should always be at least 0.2 to avoid sample loss. Differences greater than 0.2 can result in broad distributions. Approximate size ratios: 0.6 > 550 bp 0.7 > 450 bp 0.8 > 350 bp 0.9 > 250 bp 1.0 > 150 bp
Note on F15: This value is the second and final volumetric ratio of PEG/bead to sample. Remaining material, smaller than the first selection, but greater than lower desired size threshold is bound and kept for future processing. The spacing between the two ratios should always be at least 0.2 to avoid sample loss. Differences greater than 0.2 can result in broad distributions. Approximate size ratios: 0.6 > 550 bp 0.7 > 450 bp 0.8 > 350 bp 0.9 > 250 bp 1.0 > 150 bp
Note on H15: This value is the second and final volumetric ratio of PEG/bead to sample. Remaining material, smaller than the first selection, but greater than lower desired size threshold is bound and kept for future processing. The spacing between the two ratios should always be at least 0.2 to avoid sample loss. Differences greater than 0.2 can result in broad distributions. Approximate size ratios: 0.6 > 550 bp 0.7 > 450 bp 0.8 > 350 bp 0.9 > 250 bp 1.0 > 150 bp
Note on B16: Most applications involve a PCR before capture to achieve 1 µg of total material into the reaction. It is possible to have PCR-free library into capture however starting input and multiplexing options must be consisdered
Note on D16: Most applications involve a PCR before capture to achieve 1 µg of total material into the reaction. It is possible to have PCR-free library into capture however starting input and multiplexing options must be consisdered
Note on F16: Most applications involve a PCR before capture to achieve 1 µg of total material into the reaction. It is possible to have PCR-free library into capture however starting input and multiplexing options must be consisdered
Note on H16: Most applications involve a PCR before capture to achieve 1 µg of total material into the reaction. It is possible to have PCR-free library into capture however starting input and multiplexing options must be consisdered
Note on B17: Due to the loss during cature a post capture amplification is nearly always needed
Note on D17: Due to the loss during cature a post capture amplification is nearly always needed
Note on F17: Due to the loss during cature a post capture amplification is nearly always needed
Note on H17: Due to the loss during cature a post capture amplification is nearly always needed
Note on A23: Beads Required for capture cleanup are provided with the Hyb and Wash Kit
Note on B32: Input amount affects the ratio of adapter to insert. At higher amounts, at 15 µM stock represents a good compormise of efficiency vs price. At lower amounts, a 200:1 ratio generally optimizes yield
Note on E32: With both kits, low-input and challenging samples may benefit from higher adapter:insert molar ratios. Refer to Important Parameters in your TDS for details.
Note on B45: Input into Library Preperation in ng
Note on D45: Input into Library Preperation in ng
Note on B46: The size of the insert affects the molarity of the sample and the true ratio of adapter:insert. A larger mean fragment length results in less "ends" per amount of material and therefore less adapter required to maintain and optimal ratio.
Note on D46: The size of the insert affects the molarity of the sample and the true ratio of adapter:insert. A larger mean fragment length results in less "ends" per amount of material and therefore less adapter required to maintain and optimal ratio.
Note on B48: Recommended ratios are in the above table. A higher ratio can result in increased yield especially for low input or challenging samples but should be attempted alongside the standard recommendation.
Note on D48: Recommended ratios are in the above table. A higher ratio can result in increased yield especially for low input or challenging samples but should be attempted alongside the standard recommendation.
Note on B50: The default value is 5 µL into the ligation reaction. It is possible to increase this volume to 10 µL which effectively doubles the ratio and can be useful for high inputs or low adapter stocks.
Note on D50: The default value is 5 µL into the ligation reaction. It is possible to increase this volume to 10 µL which effectively doubles the ratio and can be useful for high inputs or low adapter stocks.
Note on B51: This value represents what the customer will be using into their workflow. It should match the expected value in the above table
Note on D51: This value represents what the customer will be using into their workflow. It should match the expected value in the above table
Note on B52: Kapa Adapters come in 30 µM and 1.5 µM concentrations. Overall use should be considered. Adapters can always be diluted down but there is a limit on samples able to processed with lower concentration adapters
Note on D52: Kapa Adapters come in 30 µM and 1.5 µM concentrations. Overall use should be considered. Adapters can always be diluted down but there is a limit on samples able to processed with lower concentration adapters
Note on B53: What dilution factor the adapters should undergo
Note on D53: What dilution factor the adapters should undergo
Note on B54: How many libraries can be made per index based on the presumed input and volumes of adapter stocks. Assumes the customer dilutes accordingly and does not waste stock.
Note on D54: How many libraries can be made per index based on the presumed input and volumes of adapter stocks. Assumes the customer dilutes accordingly and does not waste stock.
Note on B55: Total number of lbraries able to be made from both sets of Kapa Adapters at the concentration indicated
Note on D55: Total number of lbraries able to be made from both sets of Kapa Adapters at the concentration indicated
Note on B56: Total number of lbraries able to be made from one set of Kapa Adapters at the concentration indicated
Note on D56: Total number of lbraries able to be made from one set of Kapa Adapters at the concentration indicated
Note on B64: Input into Library Preperation in ng
Note on D64: Input into Library Preperation in ng
Note on B65: The size of the insert affects the molarity of the sample and the true ratio of adapter:insert. A larger mean fragment length results in less "ends" per amount of material and therefore less adapter required to maintain and optimal ratio.
Note on D65: The size of the insert affects the molarity of the sample and the true ratio of adapter:insert. A larger mean fragment length results in less "ends" per amount of material and therefore less adapter required to maintain and optimal ratio.
Note on B67: Recommended ratios are in the above table. A higher ratio can result in increased yield especially for low input or challenging samples but should be attempted alongside the standard recommendation.
Note on D67: Recommended ratios are in the above table. A higher ratio can result in increased yield especially for low input or challenging samples but should be attempted alongside the standard recommendation.
Note on B69: The default value is 5 µL into the ligation reaction. It is possible to increase this volume to 10 µL which effectively doubles the ratio and can be useful for high inputs or low adapter stocks.
Note on D69: The default value is 5 µL into the ligation reaction. It is possible to increase this volume to 10 µL which effectively doubles the ratio and can be useful for high inputs or low adapter stocks.
Note on B70: This value represents what the customer will be using into their workflow. It should match the expected value in the above table
Note on D70: This value represents what the customer will be using into their workflow. It should match the expected value in the above table
Note on B71: Kapa Adapters come in 30 µM and 1.5 µM concentrations. Overall use should be considered. Adapters can always be diluted down but there is a limit on samples able to processed with lower concentration adapters
Note on D71: Kapa Adapters come in 30 µM and 1.5 µM concentrations. Overall use should be considered. Adapters can always be diluted down but there is a limit on samples able to processed with lower concentration adapters
Note on B72: What dilution factor the adapters should undergo
Note on D72: What dilution factor the adapters should undergo
Note on B73: How many libraries can be made per index based on the presumed input and volumes of adapter stocks. Assumes the customer dilutes accordingly and does not waste stock.
Note on D73: How many libraries can be made per index based on the presumed input and volumes of adapter stocks. Assumes the customer dilutes accordingly and does not waste stock.
Note on B74: Total number of lbraries able to be made from both sets of Kapa Adapters at the concentration indicated
Note on D74: Total number of lbraries able to be made from both sets of Kapa Adapters at the concentration indicated

## Variables-Do not edit (hidden)
Not Performed
Shearing
Ligation
Amplification
Yes
No

## Revision History
KAPA Accessory Calculator
Version | Date | Changed By | Reviewed By | Change Description | Reference #
1 | 2017-05-01 | Wesley Larkan | Jacqueline Meyer | Based on KAPA_Calculator_V1.7. Major Formatting Changes. Added sections for KAPA Dual-Indexed Adapters | N/A
1.1 | 2017-05-12 | Wesley Larkan | Jacqueline Meyer | Minor changes to kit naming | N/A

## Trademark
KAPA and SeqCap are trademarks of Roche. All other product names and trademarks are the property of their respective owners.